## Sheet1
Measurements from Gulper
|  | dD | dD_uncertainty | d18O | d18O_uncertainty | Measured over standard:
2017-05-23 | Florida | -5.3233 | 0.58555 | 6.2602 | 0.062337 | Testing the fit parameters
2017-05-23 | Antarctica | -215.3276 | 2.3683 | -20.3783 | 0.59455 | x | y_dD | y_d18O
2017-05-26 | Florida | -5.8293 | 1.0465 | 6.1817 | 0.07613 | 0 | -2.3223 | 7.1102
2017-05-26 | Antarctica | -219.467 | 0.48055 | -21.0778 | 0.03709 | -2 | -4.1504 | 5.2381
|  | dD |  | d18O |  | -4 | -5.9785 | 3.366
Mean Florida |  | -5.5763 |  | 6.2209 |  | -6 | -7.8066 | 1.4939
Mean Antarctica |  | -217.3973 |  | -20.728 |  | -8 | -9.6347 | -0.37823
[6 empty] | -10 | -11.4628 | -2.2503
[6 empty] | -15 | -16.033 | -6.9306
Standards | [5 empty] | -20 | -20.6032 | -11.6109
| dD | dD_uncertainty | d18O | d18O_uncertainty |  | -40 | -38.8842 | -30.332
Florida | -3.56 | 0.07 | -0.95 | 0.06 |  | -60 | -57.1651 | -49.053
Boulder | -120.68 | 0.28 | -16 | 0.06 |  | -80 | -75.446 | -67.7741
Antarctica | -235.3 | 0.26 | -29.74 | 0.025 |  | -100 | -93.7269 | -86.4952
[6 empty] | -120 | -112.0078 | -105.2163
[6 empty] | -140 | -130.2887 | -123.9373
Calibration | [5 empty] | -160 | -148.5696 | -142.6584
For measured over standard: | [5 empty] | -180 | -166.8506 | -161.3795
dD | [5 empty] | -200 | -185.1315 | -180.1006
Slope of calibration curve = |  | 0.91405 |  |  |  | -220 | -203.4124 | -198.8216
Intercept of cal curve = |  | -2.3223 |  | calc using b = y - mx |  | -240 | -221.6933 | -217.5427
d18O | [5 empty] | -260 | -239.9742 | -236.2638
Slope of calibration curve = |  | 0.93605 |  | calc using b = y - mx
Intercept of cal curve = |  | 7.1102
For standard over measured
dD | [5 empty] | Standard over measured:
Slope of calibration curve = |  | 1.094 |  |  |  | Testing the fit parameters
Intercept of cal curve = |  | 2.5407 |  | calc using b = y - mx |  | x | y_dD | y_d18O
d18O | [5 empty] | 0 | 2.5407 | -7.5959
Slope of calibration curve = |  | 1.0683 |  | calc using b = y - mx |  | -2 | 0.35264 | -9.7326
Intercept of cal curve = |  | -7.5959 |  |  |  | -4 | -1.8354 | -11.8692
[6 empty] | -6 | -4.0235 | -14.0058
Uncertainties | [5 empty] | -8 | -6.2116 | -16.1424
dD | [5 empty] | -10 | -8.3997 | -18.2791
m_shifted = | 1.1113 | *
sig_m = | 0.017298 | ** |  |  |  | -15 | -13.8698 | -23.6206
sig_b = | 2.5911 | *** |  |  |  | -20 | -19.34 | -28.9622
sig_dD = | 3.6643 | , calc using sig_dD = sqrt(m^2*sig_x^2 + sig_b^2) |  |  |  | -40 | -41.2208 | -50.3285
d18O | [5 empty] | -60 | -63.1015 | -71.6948
m_shifted = | 1.0946 | *
sig_m = | 0.026307 | ** |  |  |  | -80 | -84.9823 | -93.0611
s_b = | 0.099428 | *** |  |  |  | -100 | -106.863 | -114.4274
sig_d18O = | 0.6429 | , calc same as for dD |  |  |  | -120 | -128.7437 | -135.7937
[6 empty] | -140 | -150.6245 | -157.16
* m_shifted is the slope that would have been calculated in the worst-case senario, where the measurements and standards for each of the data points (i.e. x and y data) were shifted by their full uncertainties in opposing directions such that m shifted by its maximum amount. | [5 empty] | -160 | -172.5052 | -178.5263
** sig_m is the difference between the estimate of m and m_shifted | [5 empty] | -180 | -194.386 | -199.8926
*** sig_b was calculated using the partial derivative method on the function b = y - mx, and the uncertainties for measured and standard, as well as sig_m. | [5 empty] | -200 | -216.2667 | -221.2589
[6 empty] | -220 | -238.1475 | -242.6252
[6 empty] | -240 | -260.0282 | -263.9915
[6 empty] | -260 | -281.909 | -285.3578